## Sheet1
Number of Sampled Component Spectra: 1
Spectrometers: HR4C2595
Integration Time (usec): 25000 (HR4C2595)
Spectra Averaged: 500 (HR4C2595)
Boxcar Smoothing: 0 (HR4C2595)
Correct for Electrical Dark: No (HR4C2595)
Strobe/Lamp Enabled: No (HR4C2595)
Correct for Detector Non-linearity: No (HR4C2595)
Correct for Stray Light: No (HR4C2595)
Number of Pixels in Processed Spectrum: 3648
>>>>>Begin Processed Spectral Data<<<<<
Pixels | Intensity | Wavelength [nm]
1 | 930.91
2 | 930.91
3 | 930.91
4 | 958.35
5 | 963.4
6 | 972.27
7 | 970.52
8 | 971.3
9 | 971.64
10 | 969.67
11 | 969.76
12 | 970.9
13 | 970.72
14 | 973.53
15 | 969.45
16 | 966.9
17 | 970.11
18 | 972.11
19 | 970.23
20 | 972.18
21 | 973.61
22 | 975.34
23 | 973.44
24 | 970.24
25 | 971.98
26 | 976.08
27 | 977.5
28 | 974.3
29 | 971.21
30 | 971.95
31 | 972.94
32 | 971.79
33 | 971.11
34 | 970.91
35 | 971.55
36 | 974.13
37 | 972.12
38 | 972.2
39 | 971.62
40 | 971.87
41 | 971.12
42 | 972.48
43 | 974.17
44 | 973.72
45 | 974.65
46 | 973.62
47 | 972.27
48 | 975.25
49 | 974.37
50 | 972.85
51 | 972.21
52 | 971.18
53 | 973.01
54 | 974.76
55 | 974.37
56 | 975.66
57 | 973.83
58 | 972.92
59 | 973.59
60 | 971.61
61 | 974.37
62 | 971.65
63 | 971.41
64 | 971.89
65 | 969.08
66 | 969.8
67 | 970.83
68 | 970.87
69 | 972.49
70 | 972.66
71 | 975.61
72 | 971.23
73 | 972.03
74 | 972.46
75 | 974.39
76 | 971.27
77 | 973.6
78 | 972.16
79 | 971.53
80 | 972.61
81 | 975.51
82 | 976.91
83 | 974.74
84 | 971.03
85 | 970.33
86 | 972.66
87 | 972.62
88 | 973.53
89 | 976.31
90 | 974.29
91 | 974.13
92 | 974.93
93 | 974.51
94 | 972.87
95 | 973.47
96 | 973.11
97 | 973.3
98 | 976.73
99 | 976.19
100 | 973.83
101 | 971.1
102 | 971.87
103 | 972.42
104 | 975.2
105 | 974.38
106 | 973.08
107 | 974.31
108 | 972.11
109 | 970.58
110 | 975.5
111 | 976.21
112 | 972.32
113 | 973.59
114 | 972.91
115 | 971.92
116 | 973.88
117 | 976.5
118 | 977.78
119 | 980.59
120 | 974.5
121 | 973.27
122 | 973.19
123 | 972.59
124 | 974.51
125 | 972.63
126 | 973.7
127 | 976.24
128 | 975.51
129 | 973.3
130 | 977.71
131 | 976.95
132 | 974.97
133 | 975.34
134 | 976.4
135 | 974.6
136 | 972.23
137 | 974.36
138 | 976.61
139 | 976.04
140 | 977.87
141 | 974.78
142 | 973.92
143 | 974.37
144 | 974.72
145 | 973.79
146 | 976.14
147 | 974.65
148 | 976.81
149 | 977.32
150 | 976.26
151 | 977.49
152 | 977.77
153 | 974.91
154 | 974.34
155 | 975.91
156 | 976.06
157 | 975.46
158 | 977.2
159 | 978.29
160 | 979.19
161 | 977.7
162 | 976.08
163 | 978.11
164 | 976.92
165 | 978.23
166 | 977.94
167 | 979.69
168 | 978.85
169 | 976.75
170 | 976.36
171 | 977.35
172 | 975.3
173 | 972.36
174 | 971.93
175 | 972.84
176 | 977.01
177 | 978.72
178 | 978.26
179 | 975.92
180 | 978.04
181 | 978.46
182 | 976.8
183 | 975.48
184 | 977.36
185 | 977.75
186 | 976.33
187 | 978.53
188 | 978.28
189 | 978.69
190 | 979.65
191 | 980.76
192 | 982.44
193 | 979.47
194 | 979.96
195 | 982.35
196 | 988.06
197 | 996.94
198 | 1002.05
199 | 999.04
200 | 993.62
201 | 985.3
202 | 980.45
203 | 982.89
204 | 981.12
205 | 979.8
206 | 980.18
207 | 981.94
208 | 984.41
209 | 987.42
210 | 989
211 | 996.15
212 | 1004.78
213 | 1013.85
214 | 1037.59
215 | 1081.99
216 | 1161.78
217 | 1267.68
218 | 1352.25
219 | 1357.55
220 | 1279.52
221 | 1158.33
222 | 1066.1
223 | 1025.87
224 | 1011.23
225 | 1002.15
226 | 999.3
227 | 998.38
228 | 992.11
229 | 989.82
230 | 987.4
231 | 990.59
232 | 992.12
233 | 992.19
234 | 992.39
235 | 987.52
236 | 983.28
237 | 982.56
238 | 979.53
239 | 977.97
240 | 978.37
241 | 980.73
242 | 982.11
243 | 980.74
244 | 982.36
245 | 983.85
246 | 981.46
247 | 978.34
248 | 977.66
249 | 977.46
250 | 980.26
251 | 981.46
252 | 983.01
253 | 983.33
254 | 983.65
255 | 988.85
256 | 993.44
257 | 1001.49
258 | 1013.14
259 | 1040.56
260 | 1079.8
261 | 1110.27
262 | 1113.45
263 | 1082.26
264 | 1031.28
265 | 995.21
266 | 980.12
267 | 979.66
268 | 980.69
269 | 977.68
270 | 976.66
271 | 977.75
272 | 977.04
273 | 976.02
274 | 974.96
275 | 978.1
276 | 983.3
277 | 989.88
278 | 996.74
279 | 997.59
280 | 993.34
281 | 985.14
282 | 978.1
283 | 978.07
284 | 975.1
285 | 973.77
286 | 973.17
287 | 974.33
288 | 975.39
289 | 973.79
290 | 974.48
291 | 975.42
292 | 974.07
293 | 977.04
294 | 979.07
295 | 980.97
296 | 983.91
297 | 991.86
298 | 999.74
299 | 1003.05
300 | 1000.37
301 | 988.39
302 | 982.85
303 | 977.68
304 | 975.38
305 | 973.77
306 | 981.91
307 | 989.41
308 | 976.32
309 | 979.44
310 | 977.82
311 | 976.2
312 | 977.33
313 | 980.06
314 | 988.41
315 | 1004.5
316 | 1022.35
317 | 1040.42
318 | 1044.22
319 | 1030.57
320 | 1005.86
321 | 984.68
322 | 978.62
323 | 976.27
324 | 974.93
325 | 977.54
326 | 978.44
327 | 974.46
328 | 977.12
329 | 973.67
330 | 974.07
331 | 975.59
332 | 975.32
333 | 977.71
334 | 978.72
335 | 978.02
336 | 978.22
337 | 976.87
338 | 980.09
339 | 979.18
340 | 976.41
341 | 976.99
342 | 979.57
343 | 980.6
344 | 979.23
345 | 981.34
346 | 981.96
347 | 985.65
348 | 993.46
349 | 1012.15
350 | 1038.28
351 | 1056.75
352 | 1047.05
353 | 1022.49
354 | 997.65
355 | 982.53
356 | 980.06
357 | 980.97
358 | 981.88
359 | 983.58
360 | 986.64
361 | 987.5
362 | 989.94
363 | 996.21
364 | 996.01
365 | 988.78
366 | 985.16
367 | 984.39
368 | 983.97
369 | 984.23
370 | 982.15
371 | 985.31
372 | 990.22
373 | 995.14
374 | 1003.75
375 | 1030.96
376 | 1092.37
377 | 1189.64
378 | 1277.24
379 | 1291.4
380 | 1221.58
381 | 1108.56
382 | 1023.39
383 | 992.24
384 | 986.65
385 | 982.81
386 | 985.58
387 | 983.36
388 | 982.72
389 | 983.52
390 | 985.91
391 | 987.62
392 | 992.84
393 | 998.21
394 | 1003.52
395 | 1022.44
396 | 1075.54
397 | 1171.36
398 | 1277.55
399 | 1332.88
400 | 1290.27
401 | 1186.68
402 | 1070.35
403 | 1011.58
404 | 995.2
405 | 987.93
406 | 982.29
407 | 982.94
408 | 984.04
409 | 982.75
410 | 982.78
411 | 984.51
412 | 986.13
413 | 984.69
414 | 983.27
415 | 985.56
416 | 985.95
417 | 984.49
418 | 986.89
419 | 988.75
420 | 987.66
421 | 989.98
422 | 989.19
423 | 990.04
424 | 996.38
425 | 997.02
426 | 999.15
427 | 999.68
428 | 1003.14
429 | 1010.51
430 | 1016.32
431 | 1022.5
432 | 1037.93
433 | 1069.07
434 | 1137.25
435 | 1297.5
436 | 1577.23
437 | 1948.51
438 | 2324.39
439 | 2523.69
440 | 2435.87
441 | 2071.44
442 | 1636.99
443 | 1237.75
444 | 1058.8
445 | 1012.68
446 | 997.85
447 | 993.49
448 | 989.89
449 | 988.81
450 | 986.63
451 | 986.47
452 | 987.66
453 | 987.39
454 | 984.26
455 | 982.44
456 | 981.93
457 | 982.02
458 | 983.76
459 | 981.97
460 | 982.07
461 | 982.24
462 | 982.57
463 | 982.87
464 | 980.7
465 | 981.61
466 | 980.61
467 | 980.56
468 | 982.42
469 | 982.7
470 | 982.5
471 | 979.54
472 | 979.88
473 | 979.55
474 | 981.16
475 | 981.49
476 | 982.25
477 | 983.48
478 | 983.01
479 | 983.35
480 | 982.81
481 | 982.46
482 | 983.38
483 | 982.1
484 | 981.57
485 | 982.4
486 | 981.64
487 | 981.94
488 | 983.88
489 | 984.43
490 | 981.54
491 | 981.4
492 | 983.73
493 | 979.66
494 | 979.55
495 | 981.56
496 | 983.87
497 | 982.99
498 | 980.93
499 | 982.76
500 | 984.75
501 | 985.52
502 | 983.86
503 | 984.57
504 | 983.88
505 | 985.02
506 | 983.26
507 | 985.06
508 | 986.05
509 | 985.24
510 | 985.87
511 | 987.65
512 | 988.9
513 | 993.22
514 | 997.07
515 | 1009.4
516 | 1039.78
517 | 1086.76
518 | 1132.04
519 | 1140.31
520 | 1106.01
521 | 1051.27
522 | 1004.62
523 | 988.96
524 | 984.91
525 | 986.36
526 | 985.71
527 | 985.78
528 | 985.97
529 | 983.79
530 | 984.74
531 | 982.25
532 | 982.3
533 | 985.54
534 | 985.87
535 | 983.91
536 | 985.03
537 | 983.04
538 | 983.59
539 | 984.56
540 | 984.24
541 | 984.52
542 | 985.56
543 | 984.82
544 | 984.9
545 | 980.8
546 | 981.96
547 | 982.93
548 | 983.74
549 | 982.49
550 | 981.68
551 | 983.37
552 | 982.4
553 | 982.63
554 | 984.27
555 | 983.52
556 | 985.04
557 | 985.28
558 | 981.63
559 | 984.6
560 | 986.24
561 | 982.94
562 | 980
563 | 979.61
564 | 981.8
565 | 984.29
566 | 986.84
567 | 985.71
568 | 982.36
569 | 981.08
570 | 983.71
571 | 985.17
572 | 983.56
573 | 980.16
574 | 980.32
575 | 981.59
576 | 982.25
577 | 984.28
578 | 982.17
579 | 981.14
580 | 981.75
581 | 982.94
582 | 983.17
583 | 979.67
584 | 981.3
585 | 981.93
586 | 982.41
587 | 984.02
588 | 979.19
589 | 980.13
590 | 982.68
591 | 983.49
592 | 982.19
593 | 983.08
594 | 983.54
595 | 985.63
596 | 988.8
597 | 989.55
598 | 989.37
599 | 984.51
600 | 985.22
601 | 988.28
602 | 990.45
603 | 988.45
604 | 986.82
605 | 989.38
606 | 990.85
607 | 987.37
608 | 988.38
609 | 990.09
610 | 991.75
611 | 990.67
612 | 992.33
613 | 992.85
614 | 993.8
615 | 994.31
616 | 992.88
617 | 993.02
618 | 995.91
619 | 997.22
620 | 997.49
621 | 1000.32
622 | 1006.89
623 | 1014.08
624 | 1022.36
625 | 1035.54
626 | 1049.29
627 | 1068.37
628 | 1093.8
629 | 1138.93
630 | 1227.89
631 | 1431.79
632 | 1898.73
633 | 2641.12
634 | 3449.99
635 | 3883.96
636 | 3658.54
637 | 2947.83
638 | 2272.65
639 | 1907.44
640 | 1684.36
641 | 1478.07
642 | 1243.01
643 | 1066.16
644 | 1011.06
645 | 1000.37
646 | 995.31
647 | 989.88
648 | 987.8
649 | 987.24
650 | 985.43
651 | 986.7
652 | 984.84
653 | 987.28
654 | 988.87
655 | 989.52
656 | 985.96
657 | 983.26
658 | 982.29
659 | 979.44
660 | 981.53
661 | 982.89
662 | 977.26
663 | 979.39
664 | 982.1
665 | 980.13
666 | 977.4
667 | 978.44
668 | 976.18
669 | 979.17
670 | 981.1
671 | 980.45
672 | 981.55
673 | 977.62
674 | 979.09
675 | 980.8
676 | 978.21
677 | 976.38
678 | 976.01
679 | 977.36
680 | 976.93
681 | 973.45
682 | 973.71
683 | 973.75
684 | 974.95
685 | 978.66
686 | 978.31
687 | 976.21
688 | 976.18
689 | 976.94
690 | 977.86
691 | 977.42
692 | 977.59
693 | 976.71
694 | 973.91
695 | 971.59
696 | 974.35
697 | 974.66
698 | 973.23
699 | 974.89
700 | 975.04
701 | 976.6
702 | 974.37
703 | 972.01
704 | 972.29
705 | 975.76
706 | 975.85
707 | 973.14
708 | 973.52
709 | 975.07
710 | 975.2
711 | 974.43
712 | 975.63
713 | 977.3
714 | 976.07
715 | 976.85
716 | 976.78
717 | 973.7
718 | 974.06
719 | 975.26
720 | 974.09
721 | 975.88
722 | 976.96
723 | 976.59
724 | 974.82
725 | 975.7
726 | 976.6
727 | 981.55
728 | 986.42
729 | 992.27
730 | 996.81
731 | 1002.24
732 | 1000.85
733 | 989.31
734 | 981.53
735 | 979.44
736 | 975.17
737 | 975.86
738 | 975.39
739 | 976.81
740 | 977.57
741 | 978.08
742 | 976.6
743 | 977.69
744 | 978.22
745 | 978.8
746 | 979.2
747 | 975.39
748 | 976.64
749 | 978.35
750 | 979.28
751 | 980.39
752 | 982.23
753 | 980.89
754 | 980.74
755 | 981.67
756 | 981.16
757 | 981.56
758 | 982.91
759 | 987.4
760 | 985.67
761 | 985.1
762 | 986.45
763 | 986.34
764 | 985.68
765 | 987.55
766 | 986.5
767 | 989.8
768 | 991.6
769 | 988.66
770 | 992.65
771 | 996.32
772 | 1003.03
773 | 1016.47
774 | 1031.53
775 | 1052.93
776 | 1074.6
777 | 1095.34
778 | 1133.8
779 | 1212.39
780 | 1378.2
781 | 1755.08
782 | 2490.95
783 | 3475.39
784 | 4175.08
785 | 3951.24
786 | 3012.97
787 | 1894.44
788 | 1217.53
789 | 1055.67
790 | 1019.37
791 | 1013.32
792 | 1023.35
793 | 1050.91
794 | 1103.72
795 | 1165.16
796 | 1207.01
797 | 1186.14
798 | 1114.99
799 | 1031.39
800 | 992.21
801 | 984.57
802 | 981.46
803 | 979.26
804 | 982.26
805 | 982.74
806 | 981.84
807 | 983.78
808 | 982.72
809 | 980.04
810 | 978.03
811 | 977.42
812 | 978.85
813 | 975.6
814 | 974.41
815 | 975.65
816 | 976.1
817 | 976.89
818 | 977.89
819 | 979.97
820 | 979.22
821 | 978.47
822 | 978.07
823 | 974.99
824 | 976.87
825 | 977.21
826 | 977.71
827 | 976.84
828 | 977.62
829 | 977.15
830 | 980.52
831 | 976.78
832 | 974.11
833 | 976.05
834 | 976.38
835 | 981.03
836 | 979.52
837 | 977.13
838 | 977.56
839 | 978.7
840 | 976.96
841 | 975.73
842 | 978.54
843 | 978.17
844 | 978.89
845 | 978.49
846 | 979.77
847 | 980.1
848 | 978.5
849 | 977.61
850 | 975.94
851 | 977.07
852 | 977.89
853 | 980.39
854 | 979.58
855 | 980.04
856 | 978.56
857 | 980.6
858 | 982.32
859 | 981.91
860 | 981.58
861 | 980.33
862 | 982.09
863 | 981.86
864 | 981.79
865 | 985.49
866 | 985.23
867 | 984.92
868 | 987.22
869 | 988.42
870 | 986.79
871 | 987.12
872 | 987.44
873 | 986.07
874 | 985.44
875 | 988.91
876 | 990.29
877 | 989.18
878 | 987.85
879 | 988.86
880 | 991.67
881 | 991.88
882 | 991.82
883 | 995.41
884 | 996.37
885 | 1001.06
886 | 1006.46
887 | 1010.47
888 | 1012.08
889 | 1020.36
890 | 1037.29
891 | 1063.01
892 | 1106.27
893 | 1169.6
894 | 1246.56
895 | 1326.32
896 | 1426.58
897 | 1580.28
898 | 1884.89
899 | 2557.31
900 | 3817.74
901 | 5643.46
902 | 7289.35
903 | 7173.95
904 | 5466.16
905 | 3112.36
906 | 1550.93
907 | 1143.87
908 | 1052.51
909 | 1019.13
910 | 1004.78
911 | 998.06
912 | 995.93
913 | 991.85
914 | 988.21
915 | 988.34
916 | 988.5
917 | 986.6
918 | 985.36
919 | 983.65
920 | 981.05
921 | 981.11
922 | 979.18
923 | 979.5
924 | 977.67
925 | 976.87
926 | 979.07
927 | 982.89
928 | 981.58
929 | 983.2
930 | 980.38
931 | 977.71
932 | 976.73
933 | 977.52
934 | 978.36
935 | 978.63
936 | 979.06
937 | 976.42
938 | 975.72
939 | 976.17
940 | 977.9
941 | 975.4
942 | 977.55
943 | 976.98
944 | 975.48
945 | 972.86
946 | 978.06
947 | 986.38
948 | 976.69
949 | 975.73
950 | 975.05
951 | 977.97
952 | 975.24
953 | 973.34
954 | 975.69
955 | 975.13
956 | 974.83
957 | 973.18
958 | 972.37
959 | 973.86
960 | 974.74
961 | 973.38
962 | 971.45
963 | 971.51
964 | 973.06
965 | 973.18
966 | 971.97
967 | 969.86
968 | 971.18
969 | 972.14
970 | 973.89
971 | 971.87
972 | 972.09
973 | 974.35
974 | 972.06
975 | 972.16
976 | 971.55
977 | 971.57
978 | 971.33
979 | 972.9
980 | 971.07
981 | 972.14
982 | 972.57
983 | 973.26
984 | 973.06
985 | 974.54
986 | 971.25
987 | 973.7
988 | 972.45
989 | 972.54
990 | 969.27
991 | 969.56
992 | 970.36
993 | 971.76
994 | 970.19
995 | 969.32
996 | 971.89
997 | 972.17
998 | 972.74
999 | 973.88
1000 | 972.2
1001 | 972.17
1002 | 971.24
1003 | 969.92
1004 | 969.82
1005 | 969.11
1006 | 969.41
1007 | 971.27
1008 | 972.45
1009 | 972.12
1010 | 973.22
1011 | 970.93
1012 | 971.8
1013 | 970.4
1014 | 969.45
1015 | 970.64
1016 | 973
1017 | 973.6
1018 | 973.13
1019 | 971.78
1020 | 974.69
1021 | 974.89
1022 | 971.73
1023 | 970.23
1024 | 971.09
1025 | 972.22
1026 | 973.7
1027 | 975.09
1028 | 973.35
1029 | 972.14
1030 | 972.1
1031 | 971.11
1032 | 971.19
1033 | 972.29
1034 | 970.59
1035 | 970.99
1036 | 973.15
1037 | 973.26
1038 | 974.48
1039 | 971.62
1040 | 970.11
1041 | 971.55
1042 | 969.75
1043 | 968.47
1044 | 969.62
1045 | 972.4
1046 | 972.9
1047 | 973.47
1048 | 972.32
1049 | 971.13
1050 | 969.1
1051 | 969.86
1052 | 972.33
1053 | 970.97
1054 | 972.55
1055 | 971.03
1056 | 970.57
1057 | 969.98
1058 | 971.03
1059 | 970.24
1060 | 970.14
1061 | 972.24
1062 | 972.32
1063 | 972.9
1064 | 971.8
1065 | 973.28
1066 | 973.3
1067 | 971.53
1068 | 972.51
1069 | 973.4
1070 | 972.63
1071 | 973.4
1072 | 971.91
1073 | 971.87
1074 | 970.17
1075 | 971.58
1076 | 973.71
1077 | 971.31
1078 | 971.29
1079 | 973.58
1080 | 974.76
1081 | 971.9
1082 | 969.33
1083 | 970.48
1084 | 972.81
1085 | 974.09
1086 | 974.02
1087 | 974.33
1088 | 973.95
1089 | 974.29
1090 | 972.56
1091 | 971.66
1092 | 970.77
1093 | 972
1094 | 973.08
1095 | 974.28
1096 | 976.03
1097 | 975.85
1098 | 975.05
1099 | 975.42
1100 | 976.99
1101 | 976.45
1102 | 975.39
1103 | 976.68
1104 | 977.57
1105 | 978.05
1106 | 976.96
1107 | 977.24
1108 | 979.85
1109 | 978.77
1110 | 979.55
1111 | 987.28
1112 | 997.75
1113 | 1020.01
1114 | 1041.84
1115 | 1053.03
1116 | 1038.17
1117 | 1009.32
1118 | 983.92
1119 | 974.41
1120 | 972.74
1121 | 973.07
1122 | 973.88
1123 | 974.79
1124 | 974.34
1125 | 973.29
1126 | 972.27
1127 | 974.23
1128 | 977.06
1129 | 979.25
1130 | 979.26
1131 | 984.12
1132 | 983.84
1133 | 981.49
1134 | 979.93
1135 | 976.82
1136 | 977.16
1137 | 976.8
1138 | 975.43
1139 | 973.91
1140 | 973.94
1141 | 972.58
1142 | 973.51
1143 | 973.31
1144 | 973.99
1145 | 973.03
1146 | 972.66
1147 | 971.91
1148 | 972.22
1149 | 971
1150 | 969.83
1151 | 971.53
1152 | 969.58
1153 | 969.91
1154 | 971.03
1155 | 971.34
1156 | 972.54
1157 | 973.95
1158 | 975.75
1159 | 974.58
1160 | 969.63
1161 | 972.34
1162 | 973.2
1163 | 974.05
1164 | 974.9
1165 | 972.99
1166 | 973.2
1167 | 973.67
1168 | 972.46
1169 | 973.83
1170 | 973.38
1171 | 973.35
1172 | 971.91
1173 | 970.94
1174 | 971.29
1175 | 970.75
1176 | 972.13
1177 | 973.44
1178 | 971.75
1179 | 971.54
1180 | 970.86
1181 | 969.75
1182 | 969.95
1183 | 973.1
1184 | 975.33
1185 | 974.26
1186 | 972.56
1187 | 972.83
1188 | 972.87
1189 | 971.78
1190 | 973.11
1191 | 976.84
1192 | 977.87
1193 | 977.86
1194 | 976.5
1195 | 973.94
1196 | 974.17
1197 | 973.38
1198 | 973.6
1199 | 974.29
1200 | 974.4
1201 | 971.47
1202 | 972.82
1203 | 971.09
1204 | 972.17
1205 | 975.28
1206 | 973.7
1207 | 974.12
1208 | 975.12
1209 | 974.55
1210 | 975.11
1211 | 973.67
1212 | 974.69
1213 | 975.43
1214 | 975.79
1215 | 973.17
1216 | 974.09
1217 | 973.35
1218 | 975
1219 | 973.98
1220 | 975.32
1221 | 978.15
1222 | 976.14
1223 | 977.74
1224 | 976.22
1225 | 976.05
1226 | 976.34
1227 | 977.5
1228 | 973.72
1229 | 976.56
1230 | 975.74
1231 | 974.66
1232 | 976.16
1233 | 975.42
1234 | 975.67
1235 | 975.51
1236 | 978.81
1237 | 978.14
1238 | 974.8
1239 | 975.61
1240 | 977.79
1241 | 979.06
1242 | 978.94
1243 | 978.19
1244 | 976.95
1245 | 977.26
1246 | 978.87
1247 | 976.89
1248 | 978.33
1249 | 979.17
1250 | 980.41
1251 | 982.11
1252 | 979.61
1253 | 979.95
1254 | 980.01
1255 | 982.13
1256 | 982.7
1257 | 984.04
1258 | 984.48
1259 | 981.6
1260 | 982.73
1261 | 982.6
1262 | 981.92
1263 | 981.41
1264 | 984.84
1265 | 985.63
1266 | 987.23
1267 | 986.76
1268 | 986.21
1269 | 986.23
1270 | 988.94
1271 | 989.01
1272 | 988.91
1273 | 991.58
1274 | 990.52
1275 | 989.67
1276 | 989.15
1277 | 990.52
1278 | 990.33
1279 | 993.71
1280 | 994.96
1281 | 995.53
1282 | 999
1283 | 999.31
1284 | 1000.14
1285 | 1003.27
1286 | 1001.33
1287 | 999.39
1288 | 1001.12
1289 | 1003
1290 | 1005.88
1291 | 1004.39
1292 | 1003.83
1293 | 1004.72
1294 | 1007.76
1295 | 1009.4
1296 | 1009.16
1297 | 1013.4
1298 | 1017.32
1299 | 1023.16
1300 | 1026.88
1301 | 1027.35
1302 | 1031.52
1303 | 1032.76
1304 | 1036.35
1305 | 1041.11
1306 | 1046.84
1307 | 1056.47
1308 | 1066.64
1309 | 1075.98
1310 | 1084.39
1311 | 1104.95
1312 | 1132.94
1313 | 1187.42
1314 | 1282.86
1315 | 1440.91
1316 | 1663.88
1317 | 1911.94
1318 | 2194.08
1319 | 2632.28
1320 | 3854.57
1321 | 7288.04
1322 | 12925.18
1323 | 16336.95
1324 | 16383
1325 | 15752.14
1326 | 11023.92
1327 | 3850.8
1328 | 1740.71
1329 | 1311.98
1330 | 1164.03
1331 | 1111.4
1332 | 1073.06
1333 | 1058.72
1334 | 1042.53
1335 | 1028.1
1336 | 1022.17
1337 | 1014
1338 | 1011.06
1339 | 1007.13
1340 | 1006.23
1341 | 1004.76
1342 | 999.72
1343 | 999.09
1344 | 996.75
1345 | 997.43
1346 | 994.78
1347 | 993.88
1348 | 991.84
1349 | 989.86
1350 | 990.43
1351 | 988.99
1352 | 988.24
1353 | 987.69
1354 | 987.16
1355 | 987.17
1356 | 988.87
1357 | 989.23
1358 | 987.67
1359 | 987.3
1360 | 986.97
1361 | 985.84
1362 | 985.92
1363 | 983.86
1364 | 982.18
1365 | 983.12
1366 | 982.8
1367 | 982.31
1368 | 982.64
1369 | 981.75
1370 | 981.98
1371 | 983.59
1372 | 979.61
1373 | 979.42
1374 | 983.23
1375 | 982.56
1376 | 982.04
1377 | 982.53
1378 | 979.61
1379 | 981.68
1380 | 982.41
1381 | 980.85
1382 | 981.49
1383 | 982.69
1384 | 982.02
1385 | 981.73
1386 | 981.67
1387 | 981.98
1388 | 980.9
1389 | 979.1
1390 | 978.47
1391 | 977.83
1392 | 979.69
1393 | 979.36
1394 | 978.57
1395 | 978.68
1396 | 979.08
1397 | 976.92
1398 | 977.62
1399 | 979.77
1400 | 980.42
1401 | 982.25
1402 | 981.5
1403 | 979.28
1404 | 982.95
1405 | 984
1406 | 984.38
1407 | 987.09
1408 | 985.51
1409 | 982.36
1410 | 981.07
1411 | 979.36
1412 | 981.47
1413 | 982.07
1414 | 981.7
1415 | 981.14
1416 | 982.54
1417 | 982.96
1418 | 984.7
1419 | 987.57
1420 | 987.18
1421 | 987.72
1422 | 989.64
1423 | 989.43
1424 | 989.45
1425 | 993.65
1426 | 996.16
1427 | 996.55
1428 | 995.27
1429 | 996.44
1430 | 1002.45
1431 | 1010.3
1432 | 1024.66
1433 | 1041.67
1434 | 1071.27
1435 | 1117.38
1436 | 1173.84
1437 | 1241.19
1438 | 1322.27
1439 | 1517.53
1440 | 2131.16
1441 | 3357.35
1442 | 4608.04
1443 | 5106
1444 | 4271.12
1445 | 2889.1
1446 | 1816.45
1447 | 1620.98
1448 | 2039.85
1449 | 3150.22
1450 | 4443.31
1451 | 4998.94
1452 | 4250.79
1453 | 2813.34
1454 | 1606.53
1455 | 1192.37
1456 | 1083.64
1457 | 1043.14
1458 | 1022.78
1459 | 1009.55
1460 | 999.81
1461 | 997.65
1462 | 994.05
1463 | 993.4
1464 | 993.2
1465 | 989.42
1466 | 986.79
1467 | 984.84
1468 | 986.02
1469 | 984.35
1470 | 981.26
1471 | 983.12
1472 | 983.14
1473 | 979.8
1474 | 980.44
1475 | 982.15
1476 | 982.74
1477 | 981.09
1478 | 981.79
1479 | 981.04
1480 | 981.74
1481 | 981.76
1482 | 983.51
1483 | 983.01
1484 | 981.34
1485 | 979.77
1486 | 979.55
1487 | 979.79
1488 | 981.3
1489 | 980.04
1490 | 977.69
1491 | 979.11
1492 | 977.04
1493 | 976.05
1494 | 976.91
1495 | 979.02
1496 | 976.68
1497 | 976.6
1498 | 975.78
1499 | 975.9
1500 | 974.5
1501 | 975.25
1502 | 976.05
1503 | 974.15
1504 | 974.24
1505 | 975.2
1506 | 974.26
1507 | 973.3
1508 | 973.17
1509 | 972.97
1510 | 973.02
1511 | 973
1512 | 972.02
1513 | 973.6
1514 | 973.43
1515 | 971.98
1516 | 971.2
1517 | 972.98
1518 | 973.15
1519 | 974.96
1520 | 976.62
1521 | 971.1
1522 | 972.08
1523 | 972.37
1524 | 970.02
1525 | 971.56
1526 | 972.5
1527 | 972.06
1528 | 971.32
1529 | 972.26
1530 | 973.13
1531 | 972.57
1532 | 971.3
1533 | 970.66
1534 | 968.5
1535 | 968.82
1536 | 970.37
1537 | 971.66
1538 | 971.91
1539 | 971.4
1540 | 972.62
1541 | 968.72
1542 | 968.31
1543 | 970.74
1544 | 968.16
1545 | 968.4
1546 | 971.64
1547 | 974.69
1548 | 970.57
1549 | 973.03
1550 | 974.02
1551 | 974.75
1552 | 971.87
1553 | 969.52
1554 | 969.49
1555 | 969.16
1556 | 970.01
1557 | 971.91
1558 | 972.79
1559 | 973.61
1560 | 973.68
1561 | 974.01
1562 | 974.65
1563 | 974.71
1564 | 972.13
1565 | 971.28
1566 | 974.47
1567 | 976.01
1568 | 976.86
1569 | 979.13
1570 | 982.66
1571 | 985.85
1572 | 989.39
1573 | 995.21
1574 | 1002.65
1575 | 1004.52
1576 | 1002.96
1577 | 997.37
1578 | 993.12
1579 | 989.47
1580 | 988.49
1581 | 985.81
1582 | 980.89
1583 | 979.04
1584 | 977.76
1585 | 976.95
1586 | 978.31
1587 | 978.27
1588 | 975.35
1589 | 976.38
1590 | 974.52
1591 | 974.26
1592 | 975.25
1593 | 973.21
1594 | 970.5
1595 | 972.36
1596 | 973.64
1597 | 972.55
1598 | 972.93
1599 | 970.25
1600 | 969.27
1601 | 969.05
1602 | 970.57
1603 | 972.98
1604 | 971.86
1605 | 972.68
1606 | 973.24
1607 | 972.54
1608 | 974.12
1609 | 970.66
1610 | 968.35
1611 | 969.38
1612 | 969.23
1613 | 970.75
1614 | 969.17
1615 | 968.14
1616 | 968.72
1617 | 971.12
1618 | 972.87
1619 | 972.28
1620 | 972
1621 | 973.41
1622 | 977.31
1623 | 979.79
1624 | 976.13
1625 | 972.68
1626 | 970.43
1627 | 970.52
1628 | 971.41
1629 | 970.94
1630 | 970.9
1631 | 971.84
1632 | 970.22
1633 | 968.56
1634 | 969.37
1635 | 969.78
1636 | 971.11
1637 | 971.45
1638 | 972.32
1639 | 978.62
1640 | 971.18
1641 | 968.9
1642 | 971.25
1643 | 972.07
1644 | 970.72
1645 | 969.61
1646 | 970.83
1647 | 970.05
1648 | 969.82
1649 | 971.3
1650 | 970.47
1651 | 972.48
1652 | 973.58
1653 | 974.01
1654 | 970.84
1655 | 970.55
1656 | 970.21
1657 | 968.01
1658 | 970.59
1659 | 967.79
1660 | 967.61
1661 | 966.75
1662 | 968.03
1663 | 968.38
1664 | 966.85
1665 | 965.34
1666 | 967.54
1667 | 967.58
1668 | 966.97
1669 | 968.43
1670 | 969.5
1671 | 970.73
1672 | 970.35
1673 | 968.43
1674 | 964.79
1675 | 967.55
1676 | 970.2
1677 | 968.4
1678 | 967.78
1679 | 967.16
1680 | 969.11
1681 | 966.6
1682 | 966.8
1683 | 967.04
1684 | 968.1
1685 | 968.95
1686 | 968.15
1687 | 968.89
1688 | 971.12
1689 | 970.97
1690 | 970.15
1691 | 967.07
1692 | 967.16
1693 | 966.86
1694 | 967.24
1695 | 967.75
1696 | 968
1697 | 968.66
1698 | 968.83
1699 | 967.96
1700 | 968.24
1701 | 967.94
1702 | 966.58
1703 | 967.88
1704 | 968.49
1705 | 969.02
1706 | 967.25
1707 | 968.56
1708 | 969.64
1709 | 968.46
1710 | 967.77
1711 | 969.12
1712 | 969.03
1713 | 968.15
1714 | 966.98
1715 | 966.98
1716 | 966.54
1717 | 968.52
1718 | 965.19
1719 | 966.28
1720 | 964.37
1721 | 967.28
1722 | 970.15
1723 | 969.86
1724 | 971.19
1725 | 970.51
1726 | 967.97
1727 | 968.04
1728 | 969.75
1729 | 969.16
1730 | 968.01
1731 | 965.95
1732 | 966.34
1733 | 968.58
1734 | 967.53
1735 | 968.02
1736 | 967.38
1737 | 966.65
1738 | 968.6
1739 | 967.76
1740 | 967.03
1741 | 964.3
1742 | 965.28
1743 | 965.46
1744 | 965.16
1745 | 966.97
1746 | 967.56
1747 | 968.11
1748 | 965.64
1749 | 965.69
1750 | 965.98
1751 | 964.96
1752 | 967.94
1753 | 971.53
1754 | 968.68
1755 | 968.99
1756 | 969.59
1757 | 968.21
1758 | 965.66
1759 | 966.43
1760 | 965.39
1761 | 967.52
1762 | 965.82
1763 | 965.94
1764 | 964.6
1765 | 967.78
1766 | 969.29
1767 | 967.84
1768 | 966.5
1769 | 967.61
1770 | 968.55
1771 | 966.09
1772 | 966.13
1773 | 966.6
1774 | 966.48
1775 | 967.42
1776 | 968.22
1777 | 966.9
1778 | 967.78
1779 | 967.7
1780 | 969.24
1781 | 967.97
1782 | 966.17
1783 | 964.96
1784 | 963.82
1785 | 965.37
1786 | 965.04
1787 | 965.66
1788 | 969.29
1789 | 966.73
1790 | 972.81
1791 | 982.82
1792 | 965.01
1793 | 965.4
1794 | 967.46
1795 | 966.73
1796 | 967.69
1797 | 971.69
1798 | 967.35
1799 | 966.49
1800 | 964.13
1801 | 965.72
1802 | 969.29
1803 | 967.66
1804 | 969.35
1805 | 968.26
1806 | 968.68
1807 | 966.42
1808 | 966.51
1809 | 969.41
1810 | 969.8
1811 | 971.5
1812 | 972.82
1813 | 968.79
1814 | 965.5
1815 | 965.41
1816 | 967.36
1817 | 967.35
1818 | 967.17
1819 | 965.45
1820 | 964.44
1821 | 965.19
1822 | 966.26
1823 | 967.36
1824 | 968.15
1825 | 967.62
1826 | 967.15
1827 | 968.77
1828 | 966.88
1829 | 965.47
1830 | 965.62
1831 | 963.97
1832 | 966.96
1833 | 968.22
1834 | 966.44
1835 | 966.09
1836 | 967.79
1837 | 966.29
1838 | 963.79
1839 | 964.55
1840 | 965.45
1841 | 965.48
1842 | 967.11
1843 | 967.17
1844 | 966.05
1845 | 966.35
1846 | 965.1
1847 | 966.47
1848 | 965.88
1849 | 965.16
1850 | 963.45
1851 | 967.44
1852 | 967.63
1853 | 965.48
1854 | 966.21
1855 | 966.3
1856 | 965.11
1857 | 965.76
1858 | 966.9
1859 | 964.6
1860 | 964.53
1861 | 965.92
1862 | 967.41
1863 | 965.26
1864 | 967.4
1865 | 968.17
1866 | 967.88
1867 | 964.67
1868 | 966.42
1869 | 968.92
1870 | 967.84
1871 | 968.96
1872 | 968.97
1873 | 969.36
1874 | 967.02
1875 | 965.7
1876 | 967.19
1877 | 965.4
1878 | 966.74
1879 | 967.32
1880 | 967.95
1881 | 970.93
1882 | 973.86
1883 | 979.96
1884 | 995.54
1885 | 1010.1
1886 | 1014.57
1887 | 1005.81
1888 | 984.57
1889 | 972.77
1890 | 969.35
1891 | 967.82
1892 | 965.83
1893 | 965.86
1894 | 968.12
1895 | 967.56
1896 | 966.07
1897 | 967.45
1898 | 966.03
1899 | 965.9
1900 | 967.68
1901 | 966.92
1902 | 966.03
1903 | 965.53
1904 | 963.18
1905 | 965.39
1906 | 966.47
1907 | 966.2
1908 | 967.13
1909 | 968.18
1910 | 966.83
1911 | 965.17
1912 | 966.98
1913 | 966.99
1914 | 965.14
1915 | 965.89
1916 | 966.02
1917 | 963.66
1918 | 964.21
1919 | 964.54
1920 | 965.84
1921 | 965.99
1922 | 965.76
1923 | 966.43
1924 | 967.26
1925 | 966.39
1926 | 966
1927 | 964.81
1928 | 965.7
1929 | 966.07
1930 | 965.51
1931 | 968.16
1932 | 968.18
1933 | 963.94
1934 | 966.23
1935 | 968.2
1936 | 967.58
1937 | 969.86
1938 | 967.25
1939 | 965.62
1940 | 964.58
1941 | 965.53
1942 | 965.59
1943 | 966.85
1944 | 967.7
1945 | 968.29
1946 | 968.36
1947 | 968.79
1948 | 966.98
1949 | 968.17
1950 | 968.55
1951 | 970.45
1952 | 975.98
1953 | 978
1954 | 978.54
1955 | 977.95
1956 | 975.26
1957 | 972.07
1958 | 971.04
1959 | 970.41
1960 | 970.03
1961 | 966.43
1962 | 967.31
1963 | 965.2
1964 | 965.75
1965 | 967.5
1966 | 967.48
1967 | 967.44
1968 | 966.35
1969 | 965.74
1970 | 963.01
1971 | 963.87
1972 | 963.71
1973 | 964.22
1974 | 966.17
1975 | 967.17
1976 | 965.52
1977 | 964.32
1978 | 966.37
1979 | 967.34
1980 | 966.44
1981 | 969.5
1982 | 967.47
1983 | 968.66
1984 | 966.92
1985 | 964.5
1986 | 965.13
1987 | 964.76
1988 | 965.05
1989 | 968.06
1990 | 968.16
1991 | 966.29
1992 | 963.29
1993 | 965.26
1994 | 966.8
1995 | 964.64
1996 | 966.13
1997 | 965.08
1998 | 964.86
1999 | 966.57
2000 | 966.16
2001 | 965.53
2002 | 965.08
2003 | 964.78
2004 | 965.48
2005 | 965.44
2006 | 965.93
2007 | 966.93
2008 | 966.97
2009 | 963.42
2010 | 962.72
2011 | 963.2
2012 | 965.74
2013 | 965.98
2014 | 966.73
2015 | 965.95
2016 | 967.82
2017 | 967.43
2018 | 967
2019 | 966.59
2020 | 966.78
2021 | 965.19
2022 | 963.95
2023 | 965.61
2024 | 965.83
2025 | 966.74
2026 | 969.58
2027 | 970.28
2028 | 968.72
2029 | 966.08
2030 | 965.61
2031 | 967.12
2032 | 963.9
2033 | 963.91
2034 | 964.95
2035 | 966.88
2036 | 964.91
2037 | 964.44
2038 | 967.74
2039 | 968.25
2040 | 966.27
2041 | 964.56
2042 | 965.29
2043 | 965.92
2044 | 965.03
2045 | 964.29
2046 | 963.62
2047 | 963.27
2048 | 964.67
2049 | 963.56
2050 | 963.91
2051 | 966.39
2052 | 965.84
2053 | 965.63
2054 | 963.46
2055 | 965.38
2056 | 965.34
2057 | 965.47
2058 | 964.76
2059 | 962.84
2060 | 964.66
2061 | 965.16
2062 | 964.39
2063 | 965.22
2064 | 966.93
2065 | 964.43
2066 | 964.96
2067 | 967.92
2068 | 971.41
2069 | 966.01
2070 | 962.97
2071 | 964.27
2072 | 966.14
2073 | 966.39
2074 | 966.96
2075 | 966.66
2076 | 966.22
2077 | 966.26
2078 | 966.42
2079 | 965.78
2080 | 965.25
2081 | 966.63
2082 | 963.51
2083 | 963.99
2084 | 967.31
2085 | 968.13
2086 | 967.52
2087 | 966.05
2088 | 964.49
2089 | 965.22
2090 | 965.79
2091 | 968.58
2092 | 966.86
2093 | 965.25
2094 | 963.19
2095 | 964.28
2096 | 966.98
2097 | 964.08
2098 | 964.34
2099 | 965.39
2100 | 966.26
2101 | 964.64
2102 | 967.85
2103 | 971.48
2104 | 968.61
2105 | 966.91
2106 | 963.23
2107 | 965.68
2108 | 964.71
2109 | 964.45
2110 | 965.6
2111 | 964.67
2112 | 965.34
2113 | 965.57
2114 | 964.03
2115 | 963.37
2116 | 965.34
2117 | 962.67
2118 | 962.87
2119 | 963.71
2120 | 965.45
2121 | 965.94
2122 | 964.99
2123 | 963.26
2124 | 963.51
2125 | 964.49
2126 | 964.05
2127 | 963.1
2128 | 965.1
2129 | 964.44
2130 | 966.72
2131 | 965.31
2132 | 965.71
2133 | 964.8
2134 | 965.03
2135 | 964.58
2136 | 964.44
2137 | 964.92
2138 | 966.76
2139 | 968.15
2140 | 964.92
2141 | 965.35
2142 | 967.32
2143 | 966.22
2144 | 964.11
2145 | 964
2146 | 967.15
2147 | 966.29
2148 | 966.23
2149 | 965.15
2150 | 966.22
2151 | 966.25
2152 | 964.15
2153 | 964.59
2154 | 963.62
2155 | 963.32
2156 | 964.39
2157 | 963.17
2158 | 963.87
2159 | 965.19
2160 | 965.54
2161 | 964.01
2162 | 962.49
2163 | 965.01
2164 | 972.05
2165 | 977.29
2166 | 965.07
2167 | 966.84
2168 | 964.35
2169 | 967.13
2170 | 965.74
2171 | 964.49
2172 | 960.98
2173 | 963.63
2174 | 965.22
2175 | 963.98
2176 | 965.72
2177 | 966.16
2178 | 962.26
2179 | 964.54
2180 | 962.93
2181 | 964.39
2182 | 964.6
2183 | 965.75
2184 | 964.16
2185 | 965.93
2186 | 968.38
2187 | 964.03
2188 | 964.25
2189 | 965.4
2190 | 965.2
2191 | 963.54
2192 | 964.08
2193 | 966.83
2194 | 967.07
2195 | 966.03
2196 | 964.8
2197 | 963.37
2198 | 963.82
2199 | 964.51
2200 | 969.35
2201 | 966.09
2202 | 966.46
2203 | 966.44
2204 | 966.74
2205 | 967.64
2206 | 963.84
2207 | 964.01
2208 | 967.86
2209 | 970.78
2210 | 970.79
2211 | 971.25
2212 | 968.46
2213 | 967.69
2214 | 965.95
2215 | 965.58
2216 | 964.06
2217 | 963.41
2218 | 962.14
2219 | 965.45
2220 | 969.65
2221 | 968.14
2222 | 966.22
2223 | 962.88
2224 | 965
2225 | 965.9
2226 | 965.51
2227 | 962.84
2228 | 962.95
2229 | 963.38
2230 | 961.42
2231 | 962.71
2232 | 962.79
2233 | 962.65
2234 | 964.37
2235 | 964.57
2236 | 964.09
2237 | 965.62
2238 | 968.03
2239 | 965.63
2240 | 965.65
2241 | 964.32
2242 | 963.95
2243 | 962.81
2244 | 963.68
2245 | 964.35
2246 | 962.11
2247 | 962.99
2248 | 964.49
2249 | 963.01
2250 | 963.93
2251 | 964.4
2252 | 964.28
2253 | 967.05
2254 | 965.67
2255 | 964.23
2256 | 963.99
2257 | 962.48
2258 | 961.39
2259 | 963.18
2260 | 962.78
2261 | 962.41
2262 | 963.73
2263 | 966.9
2264 | 965.7
2265 | 965.64
2266 | 965.32
2267 | 964.94
2268 | 965.9
2269 | 962.83
2270 | 964.32
2271 | 966.66
2272 | 963.64
2273 | 963.97
2274 | 961.44
2275 | 961.59
2276 | 963.52
2277 | 963.25
2278 | 963.29
2279 | 964.74
2280 | 964.99
2281 | 966.22
2282 | 962.96
2283 | 962.48
2284 | 961.99
2285 | 961.41
2286 | 963.84
2287 | 965.44
2288 | 963.26
2289 | 961.42
2290 | 962.9
2291 | 963.68
2292 | 963.85
2293 | 965.12
2294 | 964.69
2295 | 963.21
2296 | 962.01
2297 | 962.25
2298 | 962.48
2299 | 965.14
2300 | 966.44
2301 | 964.69
2302 | 965.58
2303 | 962.4
2304 | 963.65
2305 | 966.28
2306 | 964.27
2307 | 966.64
2308 | 965.02
2309 | 964.79
2310 | 964.08
2311 | 965.81
2312 | 966.09
2313 | 963.8
2314 | 962.23
2315 | 962.94
2316 | 963.66
2317 | 962.64
2318 | 961.76
2319 | 963.27
2320 | 964.4
2321 | 964.18
2322 | 962.34
2323 | 963.87
2324 | 966.51
2325 | 964.62
2326 | 964.5
2327 | 964.86
2328 | 964.44
2329 | 963.43
2330 | 965.06
2331 | 962.35
2332 | 963.45
2333 | 962.87
2334 | 966.28
2335 | 967.96
2336 | 966.71
2337 | 967.15
2338 | 965.28
2339 | 963.96
2340 | 962.64
2341 | 961.91
2342 | 961.75
2343 | 963.9
2344 | 964.06
2345 | 965.15
2346 | 965.32
2347 | 963.74
2348 | 963.06
2349 | 966.45
2350 | 965.53
2351 | 962
2352 | 962.92
2353 | 963.7
2354 | 963.62
2355 | 966.28
2356 | 966.4
2357 | 965.29
2358 | 962.59
2359 | 964.07
2360 | 966
2361 | 965.49
2362 | 963.41
2363 | 962.58
2364 | 964.45
2365 | 966.73
2366 | 963.16
2367 | 963.96
2368 | 965.31
2369 | 966.76
2370 | 965.6
2371 | 963.58
2372 | 961.83
2373 | 963.67
2374 | 966.86
2375 | 965.37
2376 | 964.98
2377 | 964.44
2378 | 962.86
2379 | 962.36
2380 | 963.1
2381 | 962.33
2382 | 962.22
2383 | 963.73
2384 | 966.31
2385 | 962.38
2386 | 960.73
2387 | 962.61
2388 | 964.91
2389 | 963.45
2390 | 964.06
2391 | 964.5
2392 | 963.5
2393 | 962.43
2394 | 963.35
2395 | 964.08
2396 | 963.57
2397 | 962.88
2398 | 962.64
2399 | 964.36
2400 | 964.19
2401 | 966.02
2402 | 963.8
2403 | 962.66
2404 | 961.93
2405 | 962.45
2406 | 964.53
2407 | 965.65
2408 | 964.2
2409 | 963.16
2410 | 965.54
2411 | 965.67
2412 | 963.12
2413 | 963.25
2414 | 962.58
2415 | 962.4
2416 | 962.84
2417 | 965.09
2418 | 964.08
2419 | 963.84
2420 | 963.32
2421 | 963.55
2422 | 965.4
2423 | 963.22
2424 | 962.81
2425 | 961.59
2426 | 965.97
2427 | 966.74
2428 | 962.43
2429 | 961.11
2430 | 963.85
2431 | 964.77
2432 | 964.13
2433 | 961.36
2434 | 963.21
2435 | 965.95
2436 | 966.29
2437 | 963.85
2438 | 963.65
2439 | 965.54
2440 | 964.13
2441 | 962.27
2442 | 962.31
2443 | 962.75
2444 | 962
2445 | 962.9
2446 | 963.16
2447 | 963.21
2448 | 962.57
2449 | 962.32
2450 | 962.39
2451 | 961.18
2452 | 960.35
2453 | 961.97
2454 | 961.78
2455 | 962.44
2456 | 964.49
2457 | 963.66
2458 | 962.47
2459 | 963.3
2460 | 963.43
2461 | 964.68
2462 | 964.12
2463 | 963.31
2464 | 962.43
2465 | 962.97
2466 | 965.95
2467 | 969.42
2468 | 966.09
2469 | 963.73
2470 | 962.11
2471 | 964.05
2472 | 963.93
2473 | 964.07
2474 | 963.58
2475 | 964.85
2476 | 964.66
2477 | 962.99
2478 | 963.55
2479 | 965.45
2480 | 965.29
2481 | 964.42
2482 | 963.29
2483 | 963.29
2484 | 964.75
2485 | 964.33
2486 | 963.44
2487 | 964.65
2488 | 963.3
2489 | 961.6
2490 | 961.41
2491 | 961.83
2492 | 961.72
2493 | 962.39
2494 | 961.85
2495 | 963.01
2496 | 963.3
2497 | 963.36
2498 | 962.46
2499 | 961.98
2500 | 962.31
2501 | 963.06
2502 | 963.44
2503 | 963.1
2504 | 962.62
2505 | 961.34
2506 | 962.13
2507 | 963.38
2508 | 963.25
2509 | 962.75
2510 | 963.76
2511 | 962.96
2512 | 962.71
2513 | 962.51
2514 | 963.05
2515 | 963.57
2516 | 963.34
2517 | 964.54
2518 | 963.37
2519 | 961.59
2520 | 962.36
2521 | 964.56
2522 | 962.78
2523 | 963.04
2524 | 960.27
2525 | 960.81
2526 | 961.96
2527 | 963.32
2528 | 964.65
2529 | 964.76
2530 | 966.95
2531 | 964.99
2532 | 963.62
2533 | 965.74
2534 | 961.69
2535 | 961.91
2536 | 965.27
2537 | 967.3
2538 | 966.05
2539 | 961.66
2540 | 960
2541 | 963.75
2542 | 963.67
2543 | 961.2
2544 | 961.43
2545 | 962.55
2546 | 960.97
2547 | 960.02
2548 | 962.97
2549 | 964.41
2550 | 961.83
2551 | 963.75
2552 | 965.46
2553 | 963.52
2554 | 963.05
2555 | 964.11
2556 | 962.08
2557 | 962.47
2558 | 963.06
2559 | 960.75
2560 | 961.74
2561 | 961.24
2562 | 960.82
2563 | 961.67
2564 | 964.92
2565 | 961.62
2566 | 959.98
2567 | 960.49
2568 | 960.2
2569 | 963
2570 | 962.7
2571 | 961.3
2572 | 960.99
2573 | 961.69
2574 | 963.48
2575 | 964.43
2576 | 963.99
2577 | 964.42
2578 | 961.39
2579 | 961.68
2580 | 963.03
2581 | 962.79
2582 | 963.81
2583 | 961.32
2584 | 961.9
2585 | 962.05
2586 | 964.47
2587 | 962.15
2588 | 962.85
2589 | 962.38
2590 | 961.89
2591 | 963.01
2592 | 963.85
2593 | 963.35
2594 | 963.09
2595 | 963.08
2596 | 962.65
2597 | 964.03
2598 | 963.92
2599 | 963.36
2600 | 961.98
2601 | 962.02
2602 | 963.05
2603 | 961.8
2604 | 961.61
2605 | 961.91
2606 | 964.58
2607 | 961.77
2608 | 960.45
2609 | 959.48
2610 | 960.12
2611 | 963.28
2612 | 963.91
2613 | 963.75
2614 | 962.79
2615 | 963.67
2616 | 962.89
2617 | 962.2
2618 | 961.87
2619 | 960.1
2620 | 961.68
2621 | 964.66
2622 | 962.92
2623 | 962.08
2624 | 961.07
2625 | 962.13
2626 | 961.44
2627 | 963.74
2628 | 965.34
2629 | 962.67
2630 | 962.93
2631 | 963.16
2632 | 963.15
2633 | 962.32
2634 | 962.08
2635 | 962.17
2636 | 962.18
2637 | 961.49
2638 | 962.2
2639 | 963.9
2640 | 960.51
2641 | 963.24
2642 | 964.06
2643 | 962.89
2644 | 963.04
2645 | 962.39
2646 | 961.65
2647 | 961.7
2648 | 961.75
2649 | 961.78
2650 | 960.77
2651 | 961.2
2652 | 960.21
2653 | 961.11
2654 | 964.3
2655 | 963.55
2656 | 963.05
2657 | 960.95
2658 | 960.18
2659 | 962.78
2660 | 961.01
2661 | 959.93
2662 | 961.06
2663 | 963.5
2664 | 963.14
2665 | 964.38
2666 | 963.18
2667 | 961.19
2668 | 961.94
2669 | 963.59
2670 | 963.73
2671 | 962.98
2672 | 961.76
2673 | 962.44
2674 | 964.26
2675 | 963.88
2676 | 960.64
2677 | 960.13
2678 | 959.78
2679 | 962.78
2680 | 962.33
2681 | 961.86
2682 | 964.11
2683 | 964.06
2684 | 961.75
2685 | 960.93
2686 | 961.15
2687 | 962.02
2688 | 961.94
2689 | 961.4
2690 | 961.94
2691 | 962.7
2692 | 965.23
2693 | 961.72
2694 | 960.81
2695 | 960.62
2696 | 961.45
2697 | 961.2
2698 | 960.97
2699 | 962.31
2700 | 962.26
2701 | 962.8
2702 | 964.32
2703 | 964.56
2704 | 962.65
2705 | 962.42
2706 | 958.94
2707 | 961.53
2708 | 963.24
2709 | 962.46
2710 | 959.83
2711 | 961.66
2712 | 961.65
2713 | 963.68
2714 | 963.87
2715 | 962.61
2716 | 960.89
2717 | 961.9
2718 | 962.47
2719 | 959.19
2720 | 962.24
2721 | 962.39
2722 | 961.89
2723 | 959.66
2724 | 963.38
2725 | 963.28
2726 | 961.81
2727 | 961.74
2728 | 963.11
2729 | 962.55
2730 | 961.32
2731 | 959.5
2732 | 960.44
2733 | 960.67
2734 | 960.73
2735 | 962.87
2736 | 962.12
2737 | 959.79
2738 | 960.02
2739 | 962.17
2740 | 963.42
2741 | 959.97
2742 | 960.48
2743 | 961.86
2744 | 963.09
2745 | 962.78
2746 | 961.63
2747 | 960.8
2748 | 960.91
2749 | 960.91
2750 | 960.02
2751 | 962.9
2752 | 964.68
2753 | 960.57
2754 | 961.04
2755 | 960.63
2756 | 962.05
2757 | 962.06
2758 | 960.83
2759 | 960.83
2760 | 961.45
2761 | 959.46
2762 | 959.07
2763 | 961.08
2764 | 960.73
2765 | 961.3
2766 | 962.64
2767 | 961.66
2768 | 961.47
2769 | 963.39
2770 | 959.83
2771 | 961.23
2772 | 961.77
2773 | 961.2
2774 | 959.53
2775 | 962.1
2776 | 959.34
2777 | 960.6
2778 | 958.87
2779 | 959.45
2780 | 963.58
2781 | 961.5
2782 | 960.37
2783 | 961.44
2784 | 961.65
2785 | 961.57
2786 | 960.58
2787 | 959.53
2788 | 961.67
2789 | 964.01
2790 | 962.37
2791 | 960.27
2792 | 960.61
2793 | 960.8
2794 | 960.64
2795 | 961.72
2796 | 961.62
2797 | 960.31
2798 | 961.49
2799 | 962.83
2800 | 959.89
2801 | 958.75
2802 | 957.88
2803 | 959.96
2804 | 961.14
2805 | 959.06
2806 | 961.35
2807 | 963.6
2808 | 961.18
2809 | 962.18
2810 | 963.96
2811 | 962.14
2812 | 960.39
2813 | 960.19
2814 | 960.36
2815 | 961.51
2816 | 961.02
2817 | 960.16
2818 | 960.36
2819 | 962.82
2820 | 965.03
2821 | 964.53
2822 | 962.09
2823 | 960.74
2824 | 960.82
2825 | 959.99
2826 | 959.14
2827 | 959.98
2828 | 960.45
2829 | 961.29
2830 | 964.18
2831 | 962.82
2832 | 961.28
2833 | 962.15
2834 | 961.3
2835 | 963.87
2836 | 962.54
2837 | 961.61
2838 | 961.85
2839 | 962.6
2840 | 963.11
2841 | 963.49
2842 | 963.13
2843 | 962.32
2844 | 961.82
2845 | 961.62
2846 | 959.01
2847 | 959.07
2848 | 962.6
2849 | 962.55
2850 | 961.42
2851 | 960.15
2852 | 959
2853 | 960.42
2854 | 963.5
2855 | 963.93
2856 | 962.25
2857 | 962.43
2858 | 962.22
2859 | 959.84
2860 | 962.51
2861 | 962.34
2862 | 965.39
2863 | 964.48
2864 | 959.18
2865 | 960.91
2866 | 962.38
2867 | 960.53
2868 | 961.2
2869 | 961.12
2870 | 961.15
2871 | 959.54
2872 | 958.99
2873 | 960.09
2874 | 961.16
2875 | 960.6
2876 | 959.27
2877 | 958.72
2878 | 958.97
2879 | 961.84
2880 | 961.43
2881 | 963.04
2882 | 962.03
2883 | 959.36
2884 | 959.38
2885 | 960.02
2886 | 962.25
2887 | 961.3
2888 | 959.2
2889 | 959.41
2890 | 958.66
2891 | 961.54
2892 | 959.66
2893 | 959.29
2894 | 962.46
2895 | 963.05
2896 | 962.37
2897 | 960.78
2898 | 960.36
2899 | 961.14
2900 | 958.92
2901 | 959.36
2902 | 959.67
2903 | 961.48
2904 | 961.86
2905 | 960.25
2906 | 959.9
2907 | 961.37
2908 | 960.29
2909 | 960.18
2910 | 960.26
2911 | 960.17
2912 | 960.29
2913 | 961.38
2914 | 962.87
2915 | 962.25
2916 | 962.17
2917 | 961.94
2918 | 959.61
2919 | 960.59
2920 | 962.75
2921 | 962.8
2922 | 961.84
2923 | 959.72
2924 | 960.36
2925 | 960.77
2926 | 961.09
2927 | 959.33
2928 | 961.61
2929 | 963.95
2930 | 962.81
2931 | 963.97
2932 | 960.86
2933 | 961.26
2934 | 963.89
2935 | 965.11
2936 | 964.01
2937 | 962.9
2938 | 961.62
2939 | 961.89
2940 | 961.65
2941 | 961.12
2942 | 962.26
2943 | 959.69
2944 | 959.47
2945 | 961.55
2946 | 960.57
2947 | 960.65
2948 | 959.25
2949 | 959.48
2950 | 960.18
2951 | 961.36
2952 | 962.89
2953 | 962.64
2954 | 959.69
2955 | 960.77
2956 | 963.76
2957 | 961.9
2958 | 960.23
2959 | 963.19
2960 | 963.3
2961 | 960.64
2962 | 961.05
2963 | 960.78
2964 | 960.44
2965 | 960.49
2966 | 960.07
2967 | 959.74
2968 | 960.16
2969 | 960.97
2970 | 958.76
2971 | 960.1
2972 | 963.92
2973 | 961.65
2974 | 962.12
2975 | 961.39
2976 | 960.1
2977 | 960.26
2978 | 960.63
2979 | 962.59
2980 | 965.27
2981 | 963.18
2982 | 962.37
2983 | 962.55
2984 | 961.34
2985 | 962.53
2986 | 960.92
2987 | 960.24
2988 | 959.72
2989 | 961.6
2990 | 962.91
2991 | 961.25
2992 | 961.18
2993 | 961.13
2994 | 962.55
2995 | 960.62
2996 | 959.18
2997 | 960.13
2998 | 961.57
2999 | 963.71
3000 | 962.06
3001 | 963.36
3002 | 960.88
3003 | 960.97
3004 | 959.04
3005 | 959.6
3006 | 963.56
3007 | 963.31
3008 | 961.74
3009 | 961.16
3010 | 960.66
3011 | 961.56
3012 | 957.88
3013 | 958.5
3014 | 961.19
3015 | 961.83
3016 | 959.99
3017 | 960.65
3018 | 962.4
3019 | 961.05
3020 | 960.91
3021 | 959.25
3022 | 962.19
3023 | 960.99
3024 | 961.49
3025 | 960.86
3026 | 961.74
3027 | 961.52
3028 | 961.46
3029 | 960.7
3030 | 958.94
3031 | 957.64
3032 | 962.26
3033 | 962.16
3034 | 960.79
3035 | 961.67
3036 | 958.75
3037 | 959.76
3038 | 961.38
3039 | 960.19
3040 | 959.99
3041 | 961.72
3042 | 962.11
3043 | 961.46
3044 | 960.75
3045 | 960.34
3046 | 960.42
3047 | 958.71
3048 | 960.34
3049 | 960.37
3050 | 960.61
3051 | 963.64
3052 | 962.84
3053 | 964.13
3054 | 963.41
3055 | 962.94
3056 | 961.36
3057 | 960.51
3058 | 961.44
3059 | 960.54
3060 | 959.45
3061 | 960.78
3062 | 961.41
3063 | 962.08
3064 | 962.06
3065 | 961.13
3066 | 958.7
3067 | 958.17
3068 | 958.95
3069 | 960.52
3070 | 962.19
3071 | 963.12
3072 | 960.17
3073 | 959.74
3074 | 961.58
3075 | 962.03
3076 | 961.45
3077 | 961.09
3078 | 960.85
3079 | 963.09
3080 | 966.52
3081 | 962.48
3082 | 960.16
3083 | 958.82
3084 | 960.46
3085 | 966.35
3086 | 963.02
3087 | 959.98
3088 | 959.87
3089 | 961.77
3090 | 961.72
3091 | 962.42
3092 | 962.79
3093 | 962.44
3094 | 963.31
3095 | 963.63
3096 | 961.54
3097 | 962.86
3098 | 963.66
3099 | 960.87
3100 | 961.37
3101 | 962.44
3102 | 963.82
3103 | 963.63
3104 | 963.04
3105 | 963.28
3106 | 962.69
3107 | 964.1
3108 | 961.92
3109 | 960.52
3110 | 960.74
3111 | 960.67
3112 | 959.9
3113 | 960.35
3114 | 960.86
3115 | 963.23
3116 | 961.08
3117 | 959.83
3118 | 959.79
3119 | 960.31
3120 | 962.91
3121 | 961.49
3122 | 960.57
3123 | 960.45
3124 | 960.21
3125 | 959.85
3126 | 960.96
3127 | 960.29
3128 | 959.84
3129 | 961.91
3130 | 962.19
3131 | 963.8
3132 | 963.15
3133 | 961.54
3134 | 959.52
3135 | 963.01
3136 | 963.83
3137 | 961.55
3138 | 961.79
3139 | 961.81
3140 | 961.74
3141 | 961.01
3142 | 960.4
3143 | 962.23
3144 | 963.15
3145 | 959.48
3146 | 960.75
3147 | 960.7
3148 | 962.45
3149 | 961.59
3150 | 960.72
3151 | 964.24
3152 | 965.13
3153 | 961.87
3154 | 961.32
3155 | 960.07
3156 | 960.52
3157 | 962.33
3158 | 961.64
3159 | 960.57
3160 | 960.16
3161 | 962.44
3162 | 960.05
3163 | 959.18
3164 | 963.52
3165 | 964.33
3166 | 962.19
3167 | 961.67
3168 | 961.67
3169 | 962.84
3170 | 960.18
3171 | 959.31
3172 | 960.39
3173 | 963.92
3174 | 962.22
3175 | 961.27
3176 | 961.79
3177 | 963.85
3178 | 964.85
3179 | 964.83
3180 | 965.51
3181 | 973.22
3182 | 984.13
3183 | 991.01
3184 | 988.38
3185 | 980.93
3186 | 975.4
3187 | 970.66
3188 | 966.99
3189 | 967.73
3190 | 965.43
3191 | 967.14
3192 | 965.39
3193 | 962.5
3194 | 962.67
3195 | 964.32
3196 | 965.36
3197 | 964.09
3198 | 962.87
3199 | 959.72
3200 | 960.26
3201 | 962.28
3202 | 962.14
3203 | 961.33
3204 | 962.55
3205 | 964.49
3206 | 963.87
3207 | 965.46
3208 | 964.88
3209 | 963.95
3210 | 962.35
3211 | 961.47
3212 | 964.48
3213 | 965.02
3214 | 962.29
3215 | 960.56
3216 | 960.01
3217 | 960.49
3218 | 959.88
3219 | 960.4
3220 | 963.33
3221 | 966.31
3222 | 961.67
3223 | 961.17
3224 | 960.92
3225 | 960.08
3226 | 959.08
3227 | 961.35
3228 | 960.87
3229 | 960.29
3230 | 961.32
3231 | 962.75
3232 | 962.74
3233 | 961.31
3234 | 961.88
3235 | 958.73
3236 | 961.32
3237 | 961.35
3238 | 962.25
3239 | 964.13
3240 | 962.25
3241 | 962.92
3242 | 963.35
3243 | 962.66
3244 | 960.97
3245 | 961.78
3246 | 963.53
3247 | 962.11
3248 | 963.84
3249 | 964.03
3250 | 964.63
3251 | 963.13
3252 | 964.41
3253 | 960.15
3254 | 960.91
3255 | 965.46
3256 | 963.45
3257 | 961.4
3258 | 963.11
3259 | 962.95
3260 | 961.82
3261 | 960.25
3262 | 961.91
3263 | 962.4
3264 | 963.21
3265 | 961.66
3266 | 963.6
3267 | 963.57
3268 | 964
3269 | 963.34
3270 | 962.5
3271 | 963.84
3272 | 961.79
3273 | 961.45
3274 | 963.89
3275 | 962.27
3276 | 959.52
3277 | 962.28
3278 | 963.65
3279 | 962.33
3280 | 962.09
3281 | 963.57
3282 | 962.38
3283 | 960.82
3284 | 961.45
3285 | 964.4
3286 | 964.36
3287 | 962.89
3288 | 961.4
3289 | 963.75
3290 | 960.48
3291 | 958.93
3292 | 961.69
3293 | 964.53
3294 | 960.5
3295 | 963.4
3296 | 962.01
3297 | 964.32
3298 | 964.87
3299 | 962.84
3300 | 961.28
3301 | 962.66
3302 | 963.71
3303 | 963.56
3304 | 963.2
3305 | 960.8
3306 | 961.31
3307 | 963.88
3308 | 963.37
3309 | 963.41
3310 | 961.48
3311 | 961.72
3312 | 963.71
3313 | 962.07
3314 | 961
3315 | 959.15
3316 | 960.42
3317 | 961.77
3318 | 961.1
3319 | 961.52
3320 | 962.56
3321 | 962.24
3322 | 961.61
3323 | 961.12
3324 | 960.89
3325 | 963.16
3326 | 965.8
3327 | 964.31
3328 | 964.26
3329 | 962.44
3330 | 960.96
3331 | 961.79
3332 | 963.07
3333 | 960.69
3334 | 960.72
3335 | 960.64
3336 | 959.05
3337 | 961.61
3338 | 962.84
3339 | 963.29
3340 | 964.54
3341 | 963.32
3342 | 960.2
3343 | 960.65
3344 | 961.93
3345 | 962.41
3346 | 962.53
3347 | 962.49
3348 | 962.44
3349 | 963.24
3350 | 964.52
3351 | 962.43
3352 | 963.61
3353 | 962
3354 | 962.21
3355 | 962.05
3356 | 962.74
3357 | 961.46
3358 | 959.97
3359 | 962.12
3360 | 962.75
3361 | 962.38
3362 | 961.65
3363 | 961.41
3364 | 961.13
3365 | 962.06
3366 | 962.85
3367 | 964.23
3368 | 962.96
3369 | 963.23
3370 | 965.72
3371 | 965.78
3372 | 962.5
3373 | 963.4
3374 | 962.22
3375 | 962.56
3376 | 960.48
3377 | 960.49
3378 | 961.83
3379 | 963.21
3380 | 962.52
3381 | 962.94
3382 | 962.47
3383 | 960.56
3384 | 960.58
3385 | 962.44
3386 | 965.08
3387 | 963.79
3388 | 960.13
3389 | 960.76
3390 | 962.52
3391 | 962.69
3392 | 962.34
3393 | 964.28
3394 | 963.75
3395 | 961.85
3396 | 962.25
3397 | 961.21
3398 | 960.69
3399 | 961.49
3400 | 962.64
3401 | 961.35
3402 | 963
3403 | 961.38
3404 | 962.96
3405 | 963.38
3406 | 961.65
3407 | 962.7
3408 | 963.06
3409 | 964.36
3410 | 963.37
3411 | 963.3
3412 | 960.83
3413 | 961.34
3414 | 960.63
3415 | 962.36
3416 | 965.78
3417 | 963.18
3418 | 963.1
3419 | 963.88
3420 | 963.26
3421 | 960.71
3422 | 960.8
3423 | 960.53
3424 | 961.59
3425 | 962.44
3426 | 962.72
3427 | 963.97
3428 | 961.99
3429 | 960.17
3430 | 960.85
3431 | 960.65
3432 | 962.09
3433 | 962.89
3434 | 961
3435 | 961.32
3436 | 961.37
3437 | 961.48
3438 | 964.12
3439 | 961.19
3440 | 960.87
3441 | 961.16
3442 | 961.11
3443 | 964.14
3444 | 962.85
3445 | 962.65
3446 | 963.66
3447 | 961.89
3448 | 962.62
3449 | 962.71
3450 | 963.13
3451 | 963.56
3452 | 960.28
3453 | 961.12
3454 | 962.94
3455 | 960.73
3456 | 961.48
3457 | 962.57
3458 | 961.67
3459 | 961.8
3460 | 965.35
3461 | 964.25
3462 | 963.79
3463 | 963.3
3464 | 962.35
3465 | 961.38
3466 | 961.8
3467 | 964.33
3468 | 962.3
3469 | 960.62
3470 | 962.22
3471 | 963.61
3472 | 966.36
3473 | 964.71
3474 | 964.28
3475 | 963.72
3476 | 961.8
3477 | 960.84
3478 | 962.45
3479 | 961.17
3480 | 960.58
3481 | 962.09
3482 | 961.72
3483 | 960.44
3484 | 963.75
3485 | 963.1
3486 | 962.14
3487 | 962.6
3488 | 963.61
3489 | 966.57
3490 | 965.11
3491 | 963.25
3492 | 965.94
3493 | 961.93
3494 | 960.07
3495 | 962.15
3496 | 964.09
3497 | 963.22
3498 | 962.52
3499 | 962.68
3500 | 960.71
3501 | 962.14
3502 | 963.87
3503 | 963.35
3504 | 961.41
3505 | 962.09
3506 | 963.72
3507 | 965.45
3508 | 964.7
3509 | 961.73
3510 | 963.07
3511 | 961.55
3512 | 960.78
3513 | 962.06
3514 | 963.28
3515 | 963.89
3516 | 963.61
3517 | 965.18
3518 | 961.56
3519 | 961.26
3520 | 961.42
3521 | 961.87
3522 | 962.88
3523 | 962.91
3524 | 961.12
3525 | 962.44
3526 | 963.94
3527 | 964.3
3528 | 961.59
3529 | 961.54
3530 | 961.44
3531 | 961.5
3532 | 967.51
3533 | 970.57
3534 | 961.44
3535 | 962.12
3536 | 963.04
3537 | 961.52
3538 | 961.33
3539 | 959.63
3540 | 961.2
3541 | 961.99
3542 | 962.18
3543 | 960.58
3544 | 960.92
3545 | 961.66
3546 | 961.59
3547 | 962.09
3548 | 963.52
3549 | 962.45
3550 | 963.78
3551 | 961.7
3552 | 960.25
3553 | 964.01
3554 | 962.79
3555 | 964.07
3556 | 964.22
3557 | 964.34
3558 | 964.75
3559 | 962.53
3560 | 961.65
3561 | 962.62
3562 | 963
3563 | 961.47
3564 | 963.49
3565 | 964.36
3566 | 965.03
3567 | 962.69
3568 | 963.07
3569 | 965.41
3570 | 966.45
3571 | 963.33
3572 | 963.85
3573 | 962.18
3574 | 960.89
3575 | 960.47
3576 | 961.01
3577 | 962.68
3578 | 962.59
3579 | 965.84
3580 | 965.31
3581 | 961.93
3582 | 961.13
3583 | 961.11
3584 | 962.48
3585 | 963.01
3586 | 962.71
3587 | 961.24
3588 | 964.04
3589 | 964.83
3590 | 965.4
3591 | 962.39
3592 | 962.57
3593 | 963.37
3594 | 961.78
3595 | 961.71
3596 | 962.56
3597 | 965.88
3598 | 964
3599 | 961.62
3600 | 961.44
3601 | 963.83
3602 | 963.11
3603 | 961.72
3604 | 962.99
3605 | 965.63
3606 | 961.62
3607 | 961.99
3608 | 962.72
3609 | 961.28
3610 | 962.88
3611 | 962.82
3612 | 961.93
3613 | 962.78
3614 | 962.48
3615 | 964.61
3616 | 965.23
3617 | 960.44
3618 | 961.77
3619 | 962.78
3620 | 961.84
3621 | 962.71
3622 | 964.09
3623 | 961.49
3624 | 961.13
3625 | 962.54
3626 | 961.97
3627 | 961.49
3628 | 962.83
3629 | 964.24
3630 | 967.27
3631 | 967.07
3632 | 962.39
3633 | 962.68
3634 | 963.49
3635 | 963.58
3636 | 962.83
3637 | 965.86
3638 | 965.02
3639 | 960.7
3640 | 962.52
3641 | 961.28
3642 | 960.14
3643 | 960.44
3644 | 960.96
3645 | 961.39
3646 | 959.91
3647 | 960.53
3648 | 961.31
Ar lines (ignore)
Hg lines